## TITLE
BILL OF QUANTITIES
Interior, Furniture, Electrical
Principal Design Consultant

## GRAND SUMMARY
SUMMARY OF COST
S.No | Activity. | AMOUNT
A | INTERIOR WORKS
B | FURNITURE WORKS
ELECTRICAL WORKS
TOTAL RS.
LESS REBATE ____% RS.
TOTAL ESTIMATED COST OF PROJECT RS.

## A-ARCH-INTERIOR
BILL OF QUANTITIES
A | INTERIOR WORKS
S.No. | DESCRIPTION | Qty | Units | Rate | Amount
1 | DISMANTLING
| Dismantling/ cutting/ removal of existing masonry walls & floor/ wall chipping, doors, windows, etc. complete in all respect including removal of debris from site and handling over the client properties to the client representative. | 1 | Job.
2 | WALL PARTITIONS
2.1 | PW-01 4" THK BLOCK MASONRY WALL (FULL HEIGHT)
a. | Providing and laying at mentioned floor first class 4" thick full height block masonry using 1:9 machine made 2000PSI blocks straight or curved set in (1:5) cement sand mortar in super structure including curing, finishing racking out joints, scaffolding, lifting, hoisting etc, complete in all respect as per specifications, drawings and as directed by the Architect. | 265 | Sft.
b. | Providing and laying 1/2" to 3/4" thick cement, sand plaster (1 : 5 ) to internal/External walls, making edges and corners including cost of fixing G.I. Expanded metal 8" wide at joint of R.C.C. members and block masonry works, preparation of surface before plastering finishing scaffolding, curing etc. complete in all respect as specified and as approved by the Architect. | 375 | Sft.
2.2 | PW-02 CEMENT BOARD
| Providing, Fabicationg and fixing 4"Thk Partition upto full height with 1/2" cement board to be fixed with screw including cost of 1-1/2"x3" MS pipe frame , including cost of all hardwares, scaffolding, lifting, etc, complete in all respect as per specifications, drawings and as directed by the Architect. | 90 | Sft.
3 | WALL CLADDINGS
3.1 | CL-01 LAMINATION PLANKS (1.5" X 6")
| Providing and fixing of 1 1/2" th MDF Lamination Planks 6"x 9'-6" to be fixed on surface inclusive of all hardware as per drawing & directed by the Architect. Planks Quantity = 33 qty | 272 | RFT
3.2 | CL-02 LAMINATION CLADDING WITH GROOVES
| Providing, making & install 3/4" MDF Lamination board cladding on single face over existing partition i/c 1/4"x1/4" thick grooves if required ,including cost of all necessary hardware & bond etc, complete in all respects as per drawing and directed by the Architect. | 68 | Sft.
4 | WALL FINISHES
4.1 | WF-01 TEXTURE PAINT FINISH (TYPE-01)
| Providing and applying at any height texture paint to surface walls ,columns and ceiling etc. roller applied having egg shell finish over one base primer coat including rubbing or scrapping , filling etc. complete in all respects as per instructions and as directed by the Architect. | 1376 | Sft.
4.2 | WF-02 MDF FLUTING
| Provide and install in position MDF Fluted Wall Panel consisting of 1 1/2" thick MDF (CNC) Fluted cladding over existing partition including cost of approved paint finish, as per drawings & details, complete in all respect and instruction of the Architect. | 130 | Sft.
4.3 | WF-03 LAMINATE FINISH
| Providing, making & install 3/4" MDF Lamination board cladding on single face over existing partition i/c 1/4"x1/4" thick grooves if required ,including cost of all necessary hardware & bond etc, complete in all respects as per drawing and directed by the Architect. | 42 | Sft.
4.4 | WF-04 GROOVES IN PLASTER
| Creating grooves in exisiting plaster through grinding with insertion of 1/2" x 1/2" aluminium u-channel fix with silicone to be completed with plaster repair complete in all respects as per instructions and as directed by the Architect. | 178 | RFT
5 | FLOOR FINISHES
5.1 | FF-01 PORCELAIN TILE HERRING BONE PATTERN
| Providing and laying best quality imported full body porcelain tile 24"x 48" as approved cutting where required for floor with 1 : 4 cement sand mortar base of 1-1/2" to 3" or dry bond of required thickness for setting the tiles in pattern with cement mortar, I/c bacteria resistance grouting in the joints including curing cleaning etc., complete in all respect and as per the instruction of the Architect. Base Rate @ Rs. 4500/m | 261 | Sft.
5.2 | FF-02 8"x8" PORCELAN TILE
| Providing and laying best quality imported full body porcelain tile 8"x 8" as approved cutting where required for floor with 1 : 4 cement sand mortar base of 1-1/2" to 3" or dry bond of required thickness for setting the tiles in pattern with cement mortar, I/c bacteria resistance grouting in the joints including curing cleaning etc., complete in all respect and as per the instruction of the Architect. Base Rate @ Rs. 4500/m | 268 | Sft.
5.2 | FF-03 GRAVEL
| Providing and laying approved size and color pebbles including cleaning of base and washing of gravels as per instructions of the Architect. | 22 | Sft.
6 | CEILING FINISHES
6.1 | FC-01 12MM THK. GYPSUM BOARD CEILING
| Provide and install in position Gypsum Board Ceiling, consisting of G.I. frame work with G.I. Hangers and 16-18 swg. aluminum edgings, 12mm thick Gypsum Board Sheet (Elephant brand Thailand or approved equivalent) fixed on frame , in drawings & details, cutting of opening for light fixtures / diffusers with making of light pelmet, fiber tape on joints, including with 3 coats of Matt Enamel paint finish (Jotun / ICI or Berger), of Gypsum board, approved shade on Gypsum board, primer coat filling if required and all other hardwares, wastage, scaffolding, making access panel (where required), making light pelmet in gypsum board as shown in drawing, etc, complete in all respect and instruction of the Architect. For payment exposed painted sheet surface area will be measured. | 235 | Sft.
6.2 | FC-02 COFFER CEILING
| Provide and install coffered ceiling, with framing in 1 1/2" x 1 1/2" partal wood frame, to be fabricated as per panel divisions, with 1/2" th. MDF sheet to be fixed as per drawings & details, cutting of opening for light fixtures / diffusers including with 3 coats of Matt Enamel paint finish, of approved shade with primer coat filling if required and all other hardwares, wastage complete in all respects as per drawing and directed by the Architect. | 253 | Sft.
7 | MISCELLANEOUS WORKS
7.1 | MS-01 LOGO
Providing & fixing 5'-0" x 0'-6" and 2" deep acrylic finish logo as per approved design and color including cost of fixing arrangements complete with all hardwares as approved by the consultant and directed by the Architect.
7.2 | MS-02 BLINDS
Provide and install roll down sun screen of approved colour & sample i/c 3/4" thick lasani box the with oak wood lipping i/c all hardwares as per drawing & detail or approved by the consultant and directed by the Architect.
8 | DOORS AND WINDOWS
8.1 | Providing , making and fixing in position glass door consist of 8mm thk clear glass with 1 1/2"x2" Solid wood frame in approved polish finish and 1-3/4"x 3/4" soild oak wood gola for glass fixing complete with all hardwares such as floor hinges handles as per detail drawings and directed by the Architect.
| D1 3'-6"X7'-6"(Single Leaf) Openable | 1 | Nos.
TOTAL ESTIMATED COST OF CIVIL/ID WORK.

## B-FURNITURE
BILL OF QUANTITIES
B | FURNITURE WORKS
S.No. | DESCRIPTION | Qty | Units | Rate | Amount
CUSTOMIZED FURNITURE
1 | CUF-01 PLANTER
| Providing and Installation of Planter/cabinet consist of following materials: | 1 | Nos.
3/4" thk MDF Lamination board box with solid wood frame with Pvc lipping
3/4" x 3/4" MS pipe frame, powder coated in approved color
MDF Lamination shelves with pvc lipping
to be assemble as per detail drawing complete as per drawing with all hardwares and directed by Engineer.
Size= 1'-10" X 5'-5"
2 | CUF-02 BENCHES
| Providing and Installation of Bench consist of following materials: | 3 | Nos.
1-1/2"x1-1/2" MS tube frame
3/4" sold wood polish finish
2" thick cusion with approved fabric finish
to be assemble as per detail drawing complete as per drawing with all hardwares and directed by Architect.
Size= 1'-6" X 5'-4"
Size= 1'-9" X 6'-3" X 1'-9" X 4'-9" (L-SHAPE)
3 | CUF-03 TABLE (4 PERS.)
| Providing and Installation of Table consist of following materials: | 3 | Nos.
2"x1/8" MS Angle Frame
MDF Lamination top with Pvc Lipping
Base to be made with MDF sheets with partal wood framing
Solid wood ribs to be fixed on base in approved polish finish
to be assemble as per detail drawing complete as per drawing with all hardwares and directed by Architect.
Size= 2'-6" X 5'-4"
4 | CUF-04 TABLE (12 PERS.)
| Providing and Installation of Table consist of following materials: | 1 | Nos.
2"x1/8" MS Angle Frame
MDF Lamination top with Pvc Lipping
Base to be made with MDF sheets with partal wood framing
Solid wood ribs to be fixed on base in approved polish finish
to be assemble as per detail drawing complete as per drawing with all hardwares and directed by Architect.
Size= 3'-6" X 12'-6"
5 | CUF-05 COFFEE TABLE (2 PERS.)
| Providing and Installation of Table consist of following materials: | 2 | Nos.
2"x1/8" MS Angle Frame
MDF Lamination top with Pvc Lipping
MS Base and legs in deco paint finish
Solid wood ribs to be fixed on base in approved polish finish
to be assemble as per detail drawing complete as per drawing with all hardwares and directed by Architect.
Size= 2'-0"∅
6 | CUF-06 SMALL TABLE (4 PERS.)
| Providing and Installation of Table consist of following materials: | 1 | Nos.
2"x1/8" MS Angle Frame
MDF Lamination top with Pvc Lipping
MS Base and legs in deco paint finish
Solid wood ribs to be fixed on base in approved polish finish
to be assemble as per detail drawing complete as per drawing with all hardwares and directed by Architect.
Size= 2'-0" X 4'-0"
7 | CUF-07 CONSOLE
| Providing and Installation of Credenza consist of following materials: | 1 | No. | 68500 | 68500
MDF Lamination board box with pvc lipping
MDF Lamination Finish drawers units with pvc lipping
MDF Lamination shutters and shelves with pvc lipping
1" dia MS pipe with 1/4" plate in deco paint finish
to be assemble as per detail drawing complete as per drawing with all hardwares and directed by Architect.
Size= 1'-3" X 6'-3"
8 | CUF-08 CABINET
| Providing and Installation of Cabinet consist of following materials: | 1 | No.
16mm MDF Lamination board box with partal wood frame
16mm MDF Lamination Top with 1-1/2" thic PVC edge bending
16mm MDF Lamination shutters with pvc lipping
16mm MDF Lamination drawers
to be assemble as per detail drawing complete as per drawing with all hardwares and directed by Architect.
Size= 1'-6" X 4'-4"
9 | CUF-09 BAR COUNTER
| Providing and Installation of CoffeeCounter consist of following materials: | 1 | No.
16mm MDF Lamination board box with partal wood frame
16mm MDF Lamination Top with 1-1/2" thic PVC edge bending
16mm MDF Lamination planter box with pvc lipping
to be assemble as per detail drawing complete as per drawing with all hardwares and directed by Architect.
Size= 2'-0" X 18'-6"
B | FURNITURE WORK
S.No. | DESCRIPTION | Qty | Units | Rate | Amount
READY MADE FURNITURE
1 | CH-01 DINING CHAIRS
|  | 10 | Nos.
2 | CH-02 BAR STOOLS
|  | 6 | Nos.
3 | CH-03 SOFA CHAIR
|  | 4 | Nos.
4 | CH-04 DINING CHAIRS
|  | 12 | Nos.
5 | MI-03 PLANTS
|  | 6 | Nos.
6 | MI-04 PLANTER POTS
|  | 1 | Nos.
7 | MI-05 ART WORK
7.1 | 02 set of 3' x 5' Wall Art. | 2 | Nos.
7.2 | 15" x 15" wall sculpture set of 4. | 1 | Nos.
8 | MI-06 FLOWER VASE
| As per Architect. | 7 | Nos.
9 | Accessories
| Accessories | 2 | Nos.
TOTAL ESTIMATED COST OF FURNITURE WORK.

## ELECTRICAL
BILL OF QUANTITIES
A | ELECTRICAL WORKS
S.No. | DESCRIPTION | Qty | Units | Rate | Amount
1 | Supply, installation, connecting and testing of Electrical wiring, PVC conduit laying open/closed or rerouting in false ceiling/wall etc., with connection to main DB including breaker etc., including the cost of cartage & lifting etc.complete in all respect as per drawings, specifications and directions of Architect/ Client. | 1 | Job.
2 | Supply, installation, connecting and testing of Lighting Fixtures surface ceiling/wall mounted or to be fixed in the false ceiling, complete with ceiling rose, lampholders Light, Earthing terminals and internal wiring, connector, including hangers brackets & necessary hardware such as screws, anchors, etc. flexible cord or flexible conduit, including the cost of cartage & lifting etc. complete in all respect as per drawings, specifications and directions of Architect/ Client.
2.1 | LED wall Light for logo | 1 | Nos.
2.2 | LED pendant light fixture | 9 | Nos.
2.3 | 10W LED 360° adjustable ceiling down light | 22 | Nos.
2.4 | LED Linear Light fixture | 4 | Nos.
2.5 | LED Linear Rope Light | 40 | Mtr
3 | Supply, installation, connecting and testing of louver type plastic Bracket Fan 300mm dia, complete with plastic cage, regulator, wall bracket and all fixing accessories as approved type, including the cost of cartage & lifting etc. complete in all respect as per drawings, specifications and directions of Architect/ Client. | 1 | Nos.
4 | Providing, installing, connecting and testing of 13 Amp Switch Socket approved type switch with MS or PVC back box and all fixing accessories as approved type, including the cost of cartage & lifting etc. complete in all respect as per drawings, specifications and directions of Architect/ Client. | 10 | Nos
5 | Relocation of existing TV cable with MS or PVC back box and all fixing accessories as approved type, including the cost of cartage & lifting etc. complete in all respect as per drawings, specifications and directions of Architect/ Client. | 1 | Job
HVAC WORKS
Providing, Installation, testing and commissioning of wall mounted split air conditioning units complete in all respects, ready to operate including supply of supports, M.S bracket stand for AC outdoor units, RCC pad if required rubber isolator, flashing, control wiring & power wiring (connection) in G.I for external / PVC for internal from outdoor unit to indoor unit i.e., all mounting accessories required to complete the job in all respects
| 2 Ton invertor Ceiling mounted | 1 | No
TOTAL ESTIMATED COST OF ELECTRICAL/HVAC WORK.

## LOAM CIVIL
List of Approved Materials
(Interior & Furnishing Works )
A- | Materials shall be supplied only from the approved sources. However in all cases the contractor shall submit complete technical details of materials and obtain approval from the Project In-charge prior to deliver on site.
B- | Approval of samples / mockups shall be taken from the Project In-charge before execution of works.
S. # | Materials | Manufacturer / Supplier
1 | Cement. (OP / SR) | Falcon / Lucky / Pakland / Maple Leaf. (Only one brand shall be used to maintain consistency of shade specially for CC finish flooring & fair face plaster)
2 | Aggregate. (Course / Fine) | As approved by the Engineer.
3 | Fine sand. | As approved by the Engineer.
4 | Water. | Potable clean and clear water which does not have sweet, saline OR brackish taste to be used for mixing and curing.
5 | Fair Face Brick Gutka | First class burnt bricks as approved by the Architect.
6 | Bricks. | First class burnt bricks as approved by the Architect.
7 | C.C Block (Compressive Strength 800 - 1000 psi) | Best Block / Quick Block OR Approved equivalent.
8 | Wire mesh. (For Old & New OR Masonry & RCC joints) | 0.4mm thick G.I Wire Mesh.(Expamet -UK) OR Approved Equivalent.
9 | Reinforcement. (Steel) | Mughal Steel / FF Steel. / amreli steel
10 | Porcelain tiles. | S. Abdulla / Florissa / Imperial Tiles / As approved by the Architect.
11 | M.S CR Tubes. | International Industries Ltd. / Bashir Pipe Industries. / Kamal Pipe Industries. / Fazal steel
12 | Metal Sections | Ishtiaq steel / Al Farooq Iron Merchant / Mughal Steel / Saify Iron / Fazal Steel
13 | Pasting adhesive. | Cementex. (Pakistan)
14 | Silicone Sealant | Sika (Switzerland) / BASF(Germany)
15 | Old & New RCC Construction Joint | Sika DUR 32 (Switzerland)
16 | Wood Sealer (Internal Use) | ICI (Pakistan)
17 | Woodcare Matt Lacquer (Internal Use) | ICI (Pakistan)
18 | Water Base Wood Coating (External Use) | Renner (Italy)
19 | Glue | MOWILITH GLUE 270. (Pakistan), MAGPOW (China)
20 | Solignum. | English make- Jaffer Brothers. (For rough wood Solignum Brown and for finish wood Solignum Colorless)
21 | Laminate Wood Flooring | Pak Carpet. / Kronoswiss OR Approved equivalent.
22 | Partal wood. | Best quality season wood - solignum treated. (Europe).
23 | Oak wood. | Best quality season wood. (Malaysia)
24 | MDF board. | AlNoor / Patex / Dongwha OR Merbok. (Malaysia)
25 | Laminated chipboard / Particleboard | Patex / ZRK / Formite (Pakistan)
26 | Laminated MDF board. | Al-Noor / ZRK / Formite (Pakistan)
27 | Marine ply. | Imported from Malaysia. (A quality)
28 | Cement Board. | Viva (Thailand) / Envicrete/ Equivalent.
29 | Formica | Formite (Pakistan) / Wilsonart (USA) Abet Laminati
30 | Moisture Resistant Gypsum Board | Kanuf - Germany / Elephant - USA
31 | Gypsum Board. | Kanuf - Germany / Elephant - USA
32 | Plain glass (Crystal clear, bubbles & distortion free float glass.) | (Guardian - Saudi Arabia) / (Saint Gobain Glass -United Kingdom)
33 | Acrylic solid surface. | Corian - DuPont. (USA) / LG. (Korea)
34 | 6mm Thick Laminated Mirror | (Guardian - Saudi Arabia) Belgium. (Laminated Mirror)
35 | Paint. (Exterior / Interior) | Jotun / ICI / Berger. (Pakistan)
36 | Anti Corrosive Paint. | Jotun / ICI / Berger. (Pakistan)
37 | Oil Based Primer for Wall (Sealer & Undercoat) | Jotun / ICI / Berger. (Pakistan)
38 | Scotchshield Safety and Security Anti Shatter Film | 3M SH7 Scotchshield 200 Microns / Equivalent.
39 | Tile Grouting | Stile. (Pakistan) / RAK (UAE)
40 | Tile Adhesive | Stile. (Pakistan) / Ressichem TA-210 (Pakistan)
41 | Waterproof Tile Grouting for wet Areas | Sika (Switzerland) / BASF(Germany)
42 | Aluminium Sections | Pakistan Cable
43 | Glass | Ghani/ Tariq